## Slide 1
m/z
Rt
Mass difference is proportional to the number of labelled C-atoms in the ion
Intensity
m/z
?
Intensity
m/z
?
?
?
!
2. Ion pair selection
We developed a new software tool MetExtract [5] for the automated evaluation of Liquid Chromatography High Resolution Mass Spectrometry (LC-HRMS) data derived from natural (12C) and stable isotopically labelled (13C) sample material. Our software uses the unique mirror symmetric isotopic distribution gained from 1:1 (v:v) mixtures of the two isotopologue forms to distinguish between biological relevant and non-relevant sample material. Additionally, the chromatographic information is used to verify this extraction process. Using this technique we are also able to determine the correct number of labelled carbon atoms for each metabolite ion.
The algorithm was verified using 19 standard substances (12C and 13C forms) spiked into a complex biological fungi matrix. MetExtract was able to extract 17 of the standards. Furthermore, different ion forms of the spiked substances were extracted by the developed algorithm and automatically clustered together.
The performance of the algorithm is exemplified with two biological experiments:
Full metabolome labelling of the fungi Fusarium graminearum
Metabolisation of deoxynivalenol in wheat plants
Christoph Bueschl, Bernhard Kluger, Nora Neumann, Rainer Schuhmacher
Correspondence: rainer.schuhmacher@boku.ac.at
Center for Analytical Chemistry, IFA-Tulln University of Natural Resources and Life Sciences Vienna Konrad Lorenz Straße 20, 3430 Tulln, Austria
Acknowledgements
This work was supported by the Austrian Science Fund (project SFB Fusarium 3706-B11), The WWTF (project Toxi-Genome 9793008037) and the Federal Country Lower Austria in co-operation with the European Regional Development Fund (ERDF) of the European Union.
m/z
Rt
Intensity *106
MetExtract: A software tool for the automated data analysis of LC-HRMS data derived from in vivo isotopically labelled samples
Fig. 1: LC-HRMS chromatogram (ESI pos. mode) obtained from the verification experiment. The analysed sample contained 12C- and 13C-mycotoxins. Mass spectra show signals of both native and fully labelled mycotoxins (e.g. black circle). Different carbon isotopologues are not separated during chromatography
Conversion
Vendor specific file format
mzXML [1]
(open data format)
1. Pre-processing
Introduction
LC-HRMS Data
Algorithm details
Extract EIC for each m/z value group and separate chromatographic peaks using MassSpecWavelet [3]
Verify corresponding isotopologues by calculating their correlation coefficient
Intensity
Retention Time
Peak 1
Peak 2
3. Peak picking
4. Feature grouping
Experimental section
Experimental Setup & Results
Verification of the algorithms performance was done using 19 mycotoxin substances available as 12C- and 13C- labelled pure standards
17 have been correctly assigned in the LC-HRMS data. Various adduct ions have been recorded in both, positive and negative, ESI mode. The correct number of C-atoms was assigned to each extracted feature by the developed algorithm
Threshold
∆ m/z
Intensity
Intensity
13C
12C
m/z
Δm/z ≙ Cn
References
[1] Pedrioli PG. et al. (2004). Nat Biotechnol. DOI: 10.1038/nbt1031
[2] Lehner S. et al. (2011). Food Add. Contam. DOI: 10.1080/19440049.2011.599340
[3] Du P. et al. (2006). Bioinformatics. DOI: 10.1093/bioinformatics/btl355
[4] Kluger B. et al. (2013). Anal Bioanal Chem. DOI: 10.1007/s00216-012-6483-8
[5] Bueschl C. et al. (2012). Bioinformatics. DOI: 10.1093/bioinformatics/bts012
[6] Wehrens R. et al. (2011). Springer. DOI: 10.1007/978-3-642-17841-2
Fig. 2: LC/MS chromatogram (ESI pos. ionisation mode) after processing the data from Fig. 1 with MetExtract. As one can see in the black circle, the double peaks resulting from different labelled structural isotopologues are removed as are unspecific MS signals
Centroidation
Intensity
m/z
Intensity
m/z
MS-Full scan profile mode
HRMS data
obtained from stable isotopically labelled samples
12C
13C
Use chromatographic peak profile to cluster features based on their similarity
Annotate relationship between features in group
0 Intensity
Retention Time
12C
13C
Intensity
m/z
[M-H2O+H]+
[M+H]+
[M+Na]+
Biological replicates
Technical replicates
Time series analysis
Comparison wild type & mutant(s)
..
Further analysis
Statistical analysis
Group features found in different measurements (replicates, conditions, ..)
Perform alignment if necessary (Polynomial Time warping [6])
5. Alignment
Experimental Setup & Results
Verification of the algorithms performance was done using 19 mycotoxin substances available as 12C- and 13C- labelled pure standards
17 have been correctly assigned in the LC-HRMS data. Various adduct ions have been recorded in both, positive and negative, ESI mode. The correct number of C-atoms was assigned to each extracted feature by the developed algorithm
Experimental Setup & Results
Verification of the algorithms performance was done using 19 mycotoxin substances available as 12C- and 13C- labelled pure standards
17 have been correctly assigned in the LC-HRMS data. Various adduct ions have been recorded in both, positive and negative, ESI mode. The correct number of C-atoms was assigned to each extracted feature by the developed algorithm

## Slide 2
Mass difference is proportional to the number of labelled C-atoms in the ion
Intensity
m/z
?
Intensity
m/z
?
?
?
!
2. Ion pair selection
We developed a new software tool, MetExtract [5], to extract only information originating from natural and stable isotopically labelled pendants of a substance. The algorithm was verified using 19 standard substances (12C and 13C forms) spiked into a complex biological fungi matrix. MetExtract was able to extract 17 of the standards. Furthermore, different ion forms of the spiked substances were extracted by the developed algorithm and automatically clustered together.
After verification of its capabilities, the algorithm was used to analyse the extracellular metabolome of F. graminearum extract. Preliminary results suggest a total of 1348 features in the 3 epigenetic mutants (unpublished data).
More recently the MetExtract algorithm was also used to search for detoxification products of the mycotoxin deoxynivalenol in wheat using 12C and 13C deoxynivalenol and Orbitrap LC-HRMS [4].
Christoph Bueschl, Bernhard Kluger, Nora Neumann, Rainer Schuhmacher
Correspondence: rainer.schuhmacher@boku.ac.at
Institute for Analytical Chemistry, IFA-Tulln University of Natural Resources and Life Sciences Vienna Konrad Lorenz Straße 20, 3430 Tulln, Austria
Acknowledgements
This work was supported by the Austrian Science Fund (project SFB Fusarium 3706-B11), The WWTF (project Toxi-Genome 9793008037) and the Federal Country Lower Austria in co-operation with the European Regional Development Fund (ERDF) of the European Union.
m/z
Rt
Intensity *106
MetExtract: A software tool for the automated data analysis of LC-HRMS data derived from in vivo isotopically labelled samples
Fig. 1: LC-HRMS chromatogram (ESI pos. mode) obtained from verification experiment. The analysed sample contained 12C- and 13C-mycotoxins. Mass spectra show signals of both native and fully labelled mycotoxins (e.g. black circle). Different carbon isotopologues are not separated during chromatography
Conversion
Vendor specific file format
mzXML [1]
(open data format)
1. Pre-processing
Introduction
LC-HRMS Data
Algorithm details
Extract EIC for each m/z value group and separate chromatographic peaks using MassSpecWavelet [3]
Verify corresponding isotopologues by calculating their correlation coefficient
Intensity
Retention Time
Peak 1
Peak 2
3. Peak picking
4. Feature grouping
Biological replicates
Technical replicates
Time series analysis
Comparison wild type & mutant(s)
..
Further analysis
Statistical analysis
Verification of MetExtract
Experimental Setup & Results
Verification of the algorithms performance was done using 19 mycotoxin substances available as 12C- and 13C- labelled pure standards
17 have been correctly assigned in the LC-HRMS data. Various adduct ions have been recorded in both, positive and negative, ESI mode. The correct number of C-atoms was assigned to each extracted feature by the developed algorithm
 | Metabolite | Formula | Mass accuracy (ppm) | RT (min) | Assigned adduct ions
01 | Nivalenol | C15H20O7 | 0.06 | 5.07 | [M+HCOO]-
02 | Deoxynivalenol | C15H20O6 | 0.41 | 6.67 | [M+HCOO]-, [M+Cl]-
03 | Tetracycline | C22H24N2O8 | 1.69 | 6.69 | [M+H]+
04 | Oxytetracycline | C22H24N2O9 |  |  | 
05 | 3-Acetyldeoxynivalenol | C17H22O7 | 0.18 | 9.26 | [M+HCOO]-, [M+Cl]-
06 | Roquefortine C | C22H23N5O2 | 1.50 | 10.01 | [M+H]+
07 | Aflatoxin G2 | C17H14O7 | 1.54 | 10.17 | [M+H]+, [M+Na]+, [2M+Na]+
08 | Aflatoxin G1 | C17H12O7 | 1.59 | 10.58 | [M+H]+, [M+Na]+, [2M+Na]+
09 | Aflatoxin B2 | C17H14O6 | 1.71 | 10.86 | [M+H]+, [M+Na]+, [2M+Na]+
10 | Fumonisin B1 | C34H59NO15 | 1.20 | 11.05 | [M+H]+
11 | Aflatoxin B1 | C17H12O6 | 1.80 | 11.19 | [M+H]+, [M+Na]+
12 | Fumonisin B2 | C34H59NO14 | 1.10 | 11.67 | [M+H]+, [M+Na]+, [2M+Na]+
13 | Fumonisin B3 | C34H59NO14 | 1.08 | 12.14 | [M+H]+
14 | HT-2 toxin | C22H32O8 | 1.98 | 12.26 | [M+H]+, [M+Na]+
15 | T2 Toxin | C24H34O9 | 1.98 | 12.96 | [M+Na]+, [2M+Na]+, [M+HCOO]-, [M+Cl]-
16 | Zearalenone | C18H22O5 | 1.61 | 13.84 | [M+Na]+
17 | Sterigmatocystin | C18H12O6 | 1.07 | 14.07 | [M+H]+, [M+Na]+
18 | Ochratoxin A | C20H18NO6Cl | 1.25 | 14.16 | [M+H]+, [M+Na]+
19 | Patulin | C7H6O4 |  |  | 
Standard preparation: Mixed standard solutions (methanol/water, (1+1, v+v)) containing the native 12C- and fully 13C-labelled metabolites. Each of the metabolites was measured at a concentration level of 500 µg/L, except the aflatoxins (250 µg/L).
LC-HRMS conditions: Orbitrap Instrumentation and HPLC parameters were identical as described by Lehner et al. [2]. MS: Full scan resolving power 60,000 (FHWM @ m/z 400), scan range m/z 100-1,000.
MetExtract processing: Selected settings: Intensity threshold 1,000; Retention time range (min) 2.00-37.00; Number of C-atoms min 4; max 70.
Material & methods
m/z
Threshold
∆ m/z
Alignment
Group features found in different measurements (replicates, conditions, ..)
Intensity
Intensity
13C
12C
m/z
Δm/z ≙ Cn
Rt
References
[1] Pedrioli PG. et al. (2004). Nat Biotechnol. DOI: 10.1038/nbt1031
[2] Lehner S. et al. (2011). Food Add. Contam. DOI: 10.1080/19440049.2011.599340
[3] Du P. et al. (2006). Bioinformatics. DOI: 10.1093/bioinformatics/btl355
[4] Kluger B. et al. (2012). TODO
[5] Bueschl C. et al. (2012). Bioinformatics. DOI: 10.1093/bioinformatics/bts012
Fig. 2: LC/MS chromatogram (ESI pos. ionisation mode) after processing the data from Fig. 1 with MetExtract. As one can see in the black circle, the double peaks resulting from different labelled structural isotopologues are removed as are unspecific MS signals
Use chromatographic peak profile to cluster features based on their similarity. Allows to group different ion forms (known and unknown)
[M+H]+
[M-?+?]+
[M+K]+
Mass difference
C-atom number
Centroidation
Intensity
m/z
Intensity
m/z
MS-Full scan profile mode
HRMS data
obtained from stable isotopically labelled samples
12C
13C

## Slide 3
Mass accuracy
Relative intensity accuracy
PyMetExtract: From Raw data to features [I]
The first step in the presented software is to extract interesting m/z ratios from the measurements mass spectra. Each mass peak in a spectra is checked, if it fulfils some requirements like 12C 13C ratio (in tracer experiments), isotopic abundance according to the labelling degree and a certain mass accuracy.
Intensity
m/z
?
?
?
?
Intensity
m/z
5) Check, if the ratio of the two mono isotopic m/z peaks is within the specified settings (only in tracer mode)
[Parameters: Setup tracers: Monoisotopic ratio is calculated from Element count, Purity natural, Purity labelled, Amount natural, Amount labelled, Lower error, Higher error]
Allowed ratio (e.g: 1:1)
34 Carbon atoms
Intensity
m/z
1) Iterate over all recorded mass spectra
2) Iterate over all detected m/z ratio above threshold
3) Iterate over allowed labelling element counts (3..n)
[Parameters: Intensity threshold, Scan Range, Number of X atoms, Max. Loading]
3..n Carbon atoms
Intensity
m/z
7) Check, if the abundance of the first carbon isotopologue in the 13C form is within its expected boundaries (Cn, Isotopic purity)
[Parameters: Intensity abundance error Labelled ion]
Theoretical abundance
34 Carbon atoms
Intensity
m/z
6) Check, if the abundance of the first carbon isotopologue in the 12C form is within its expected boundaries (Cn, Isotopic purity)
[Parameters: Intensity abundance error Non-labelled ion]
Theoretical abundance
34 Carbon atoms
Intensity
m/z
!
34 Carbon atoms
8) Mass peak has n carbon atoms, is valid and will further processed
Intensity
m/z
4) Check, if a calculated m/z ratio is present
[Parameters: Max. mass deviation (+/-) ppm]
Allowed m/z error (e.g: 3 ppm)
34 Carbon atoms

## Slide 4
PyMetExtract: From Raw data to features [II]
Mass peak grouping aim is to find found m/z values and cluster them together to avoid multiple m/z value peak picking therefore reducing the computational effort required. To perform this step, a hierarchical clustering algorithm is used. First, all extracted m/z ratios having the same number of carbon atoms are clustered together. During the tree splitting step only those clusters remain which have a delta ppm difference between their highest and lowest m/z ration less than a user defined value (typical setting: a multiple of the machine mass accuracy). This is repeated for all number of carbon atoms allowed for the data analysis.
Parameters: Min. Spectra, Clust PPM]
m/z
Time
mz bin
mz bin
mz bin
mz bin

## Slide 5
PyMetExtract: From Raw data to features [III]
The third step in the presented software is to chromatographic peaks denoting to one ion from the measurements. This task is accomplished using the Wavelet implementation of Du et.al. (2006) and R
References
Du, P.; Kibbe, W. A. & Lin, S. M. Improved peak detection in mass spectrum by incorporating continuous wavelet transform-based pattern matching. Bioinformatics, Robert H. Lurie Comprehensive Cancer Center, Northwestern University Chicago, IL 60611, USA., 2006, 22, 2059-2065
Intensity
m/z
Rt
12C @ x min
13C @ x min
N Carbon atoms
Peak_1 @ y min
Peak_2 @ z min
Peak width used to calculate the peak correlation
Peak is ignored
Peak is ignored
M
M’

## Slide 6
PyMetExtract: From Raw data to features [IV]
The fourth step in the presented software is to find groups of features belonging to the same metabolite. Such different features are commonly in-source fragmentation products, different adducts and polymer ions. The untargeted grouping is performed using the Pearson correlation coefficient. To try and explain the relationship in the group a sum formula generation based on the features m/z distance is performed.
Intensity
m/z
Rt
Feature_1 @ 5 min
Feature_2 @ 5.03 min
Feature_3 @ 4.98 min
12.a) Untargeted feature grouping is based on the fact that ions from the same metabolite have to have identical (or at least very similar) chromatographic peaks as the peak shape is determined before ionisation during the chromatography. Using the Pearson correlation coefficient, extracted features are compared. If their correlation is above a certain threshold, the features are put in the same group
12.b) Using the m/z ratio difference between two grouped features, possible losses and gains are calculated to determine the relationship between the features. Over conventional approaches having no labelled material the relationship can be further refined using the number of extracted carbon atoms.
[Parameters: Feature grouping]
Note: Graphical illustration may not suggest high correlations between the features. However, it should
Feature_1 Cn=34
Feature_3 Cn=34
corr=0.98
corr=0.89
corr=0.92
[M+H]+  [N+Na]+
-H2O
Feature_2 Cn=34
Feature group 1
3 features
Rt: 5 min